## Contents
CRM - Assumptions workbook
Inputs for the scenario proposal for auction Y-1 (delivery year 2026-2027), for auction Y-2 (delivery year 2027-28) and for auction Y-4 (delivery year 2029-2030)
This data is provided in the framework of the evaluation of the Belgian CRM calibration. It includes the data required by article 5 of the Royal Decree on volume and parameters http://www.ejustice.just.fgov.be/eli/arrete/2021/04/28/2021041351/justel All the data presented in this Excel are targetting the time horizons 2026-2027, 2027-28 and 2029-2030 that are proposed as basis for the simulations used for the calibration of the auction Y-1, Y-2 and Y-4. In order to ease the reading the following acronyms will be used : - 2026-27/Y-1 : refers to the Y-1 calibration for the DP 2026-27; - 2027-28/Y-2 : refers to the Y-2 calibration for the DP 2027-28; - 2029-30/Y-4 : refers to the Y-4 calibration for the DP 2029-30.
1° Data and assumptions for the scenario
1. Generation & Storage
1.1 Generation & Storage summary
1.2 Individually modelled thermal generation
1.3 Storage
1.4 Renewable and thermal without daily schedule
1.5 Forced outage rates
2. Consumption
2.1 Demand
2.2 Demand-Side Response
3. Balancing capacity
4. Flow based domains
5. Other countries data
6. Economic parameters
2° Sensitivities that could be integrated in the reference scenario
7 Sensitivities menu
3° Preselected capacity types
8. Preselected capacity types
4° Net-CONE input data
9. Scenarios post delivery year
5° Intermediate Price Cap
10. Parameters for the IPC
10.1 Technology list
10.2 Revenues parameters

## 1.1 Summary
1.1 Generation & Storage summary
Generation type |  |  | Generation capacity [MW]
|  |  | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Individually modelled non renewable thermal generation |  |  | 9148.7 | 9148.7 | 9148.7
NU | Nuclear |  | 2056 | 2056 | 2056
CCGT | Gas |  | 5748.3 | 5748.3 | 5748.3
OCGT | Gas |  | 294 | 294 | 294
CHP | Gas |  | 910.4 | 910.4 | 910.4
TJ | Oil |  | 140 | 140 | 140
CL | Gas |  | 305 | 305 | 305
Profiled thermal non renewable generation |  |  | 1505 | 1511 | 1525
Renewable generation |  |  | 20308.4 | 21842.4 | 25607.4
| Wind |  | 6519 | 6849 | 8209
|  | Onshore | 4258 | 4588 | 5248
|  | Offshore | 2261 | 2261 | 2961
| Photovoltaics |  | 12723 | 13923 | 16323
| Hydro RoR |  | 140 | 143 | 148
| Biomass |  | 610 | 611 | 611
|  | individually modelled | 68 | 68 | 68
|  | profiled | 542 | 543 | 543
| Waste |  | 316.4 | 316.4 | 316.4
|  | individually modelled | 286.4 | 286.4 | 286.4
|  | profiled | 30 | 30 | 30
Storage |  |  | 2222 | 2873 | 2936
| Pumped storage |  | 1305 | 1305 | 1305
| Large and small scale Batteries |  | 917 | 1568 | 1631

## 1.2 Ind. mod. thermal gen.
1.2 Individually modelled thermal generation
Owner | Generation unit name | Type | Fuel type | Derating type | Net generation capacity [MW] | Comment | Situation at end of the given year
[7 empty] | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Engie - Electrabel | AALST SYRAL GT | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes
Engie - Electrabel | AALST SYRAL ST | CHP | Gas | CHP, waste & biomass | 5 |  | yes | yes | yes
Engie - Electrabel | AALTER TJ | TJ | Oil | TJ | 18 |  | yes | yes | yes
Engie - Electrabel | AMERCOEUR 1 GT | CCGT-GT | Gas | CCGT | 289 |  | yes | yes | yes
Engie - Electrabel | AMERCOEUR 1 ST | CCGT-ST | Gas | CCGT | 162 |  | yes | yes | yes
Luminus | ANGLEUR TG 31 | GT | Gas | OCGT | 25 |  | yes | yes | yes
Luminus | ANGLEUR TG 32 | GT | Gas | OCGT | 25 |  | yes | yes | yes
Luminus | ANGLEUR TG 41 | GT | Gas | OCGT | 64 |  | yes | yes | yes
Luminus | ANGLEUR TG 42 | GT | Gas | OCGT | 64 |  | yes | yes | yes
Engie - Electrabel | BEERSE TJ | TJ | Oil | TJ | 32 |  | yes | yes | yes
Indaver | Beveren 2 Indaver | IS | Waste | CHP, waste & biomass | 21 |  | yes | yes | yes
Indaver | Beveren 3 Indaver | IS | Waste | CHP, waste & biomass | 24 |  | yes | yes | yes
Indaver | Beveren Ineos Phenol Chem | CHP | Gas | CHP, waste & biomass | 25.1 |  | yes | yes | yes
Indaver | Beveren Sleco | IS | Waste | CHP, waste & biomass | 41 |  | yes | yes | yes
Biopower | BIOMASSA OOSTENDE | IS | Biomass | CHP, waste & biomass | 18 |  | yes | yes | yes
Biostoom | BIOSTOOM OOSTENDE | IS | Waste | CHP, waste & biomass | 19.4 |  | yes | yes | yes
Borealis | Borealis Kallo Cogen GT_ST | CHP | Gas | CHP, waste & biomass | 32 | Commissioning date expected - mid-2024 (01/07/2024 considered) https://www.spglobal.com/commodityinsights/en/market-insights/latest-news/petrochemicals/090122-pdh-project-in-belgium-delayed-to-mid-2024-as-borealis-retenders-construction-contracts | yes | yes | yes
Engie - Electrabel | CIERREUX TJ | TJ | Oil | TJ | 18 |  | yes | yes | yes
Engie - Electrabel | DOEL 1 | NU | Nuclear | NU | 445 | Decommissioning: 15/02/2025 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | no | no | no
Engie - Electrabel | DOEL 2 | NU | Nuclear | NU | 445 | Decommissioning: 01/12/2025 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | no | no | no
Engie - Electrabel | DOEL 3 | NU | Nuclear | NU | 1006 | Decommissioning: 01/10/2022 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | no | no | no
Engie - Electrabel | DOEL 4 | NU | Nuclear | NU | 1026 | Updated installed capacity - based on information published on Nordpool - https://umm.nordpoolgroup.com/#/messages?publicationDate=all&eventDate=all&units=22WDOELX40000793&units=22WTIHANG000242R | yes | yes | yes
Engie - Electrabel | DROGENBOS GT1 | CCGT-GT | Gas | CCGT | 150 |  | yes | yes | yes
Engie - Electrabel | DROGENBOS GT2 | CCGT-GT | Gas | CCGT | 150 |  | yes | yes | yes
Engie - Electrabel | DROGENBOS ST | CCGT-ST | Gas | CCGT | 160 |  | yes | yes | yes
Euro-silo | Euro-Silo | CHP | Gas | CHP, waste & biomass | 12.9 |  | yes | yes | yes
Indaver | E-wood | IS | Waste | CHP, waste & biomass | 22 |  | yes | yes | yes
Engie - Electrabel | Flémalle NEW | CCGT | Gas | CCGT | 890 | Contracted in the CRM Y-4 auction for Delivery Period 2025-26 for a duration of 15 years - https://www.elia.be/en/grid-data/adequacy/crm-auction-results | yes | yes | yes
Engie - Electrabel | Fluxys Zeebrugge | CHP | Gas | CHP, waste & biomass | 40 | Art 4. bis - Decommissioning: 01/04/2025 - https://economie.fgov.be/fr/themes/energie/securite-dapprovisionnement/electricite/mecanismes-de-capacite/reserve-strategique/notifications-de-mise-larret | no | no | no
Green Power | Greenpower Oostende | IS | Waste | CHP, waste & biomass | 20 |  | yes | yes | yes
Luminus | HAM 31 | GT | Gas | OCGT | 58 |  | yes | yes | yes
Luminus | HAM 32 | GT | Gas | OCGT | 58 |  | yes | yes | yes
Luminus | HAM Gent-GT | CHP | Gas | CHP, waste & biomass | 39 |  | yes | yes | yes
Luminus | HAM Gent-ST | CHP | Gas | CHP, waste & biomass | -
Engie - Electrabel | HERDERSBRUG GT1 | CCGT-GT | Gas | CCGT | 157 |  | yes | yes | yes
Engie - Electrabel | HERDERSBRUG GT2 | CCGT-GT | Gas | CCGT | 156.3 |  | yes | yes | yes
Engie - Electrabel | HERDERSBRUG ST | CCGT-ST | Gas | CCGT | 167 |  | yes | yes | yes
INEOS | INESCO GT1 | CHP | Gas | CHP, waste & biomass | 44.8 |  | yes | yes | yes
INEOS | INESCO GT2 | CHP | Gas | CHP, waste & biomass | 44.8 |  | yes | yes | yes
INEOS | INESCO ST | CHP | Gas | CHP, waste & biomass | 48.5 |  | yes | yes | yes
INTRADEL | INTRADEL | IS | Waste | CHP, waste & biomass | 32 |  | yes | yes | yes
IPALLE | Ipalle THUMAIDE | IS | Waste | CHP, waste & biomass | 34 |  | yes | yes | yes
Engie - Electrabel | ISVAG | IS | Waste | CHP, waste & biomass | 12 |  | yes | yes | yes
Lampiris | IVBO | IS | Waste | CHP, waste & biomass | 16 |  | yes | yes | yes
Luminus | IZEGEM | CHP | Gas | CHP, waste & biomass | 20 |  | yes | yes | yes
Inovyn | JEMEPPE-SUR-SAMBRE GT1 | CHP | Gas | CHP, waste & biomass | 48 |  | yes | yes | yes
Inovyn | JEMEPPE-SUR-SAMBRE GT2 | CHP | Gas | CHP, waste & biomass | 48 |  | yes | yes | yes
Inovyn | JEMEPPE-SUR-SAMBRE ST | CHP | Gas | CHP, waste & biomass | 10 |  | yes | yes | yes
Engie - Electrabel | KNIPPEGROEN STEG | CL | Gas | OCGT | 305 |  | yes | yes | yes
Lillo Energy | Lillo Degussa GT1 | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes
Lillo Energy | Lillo Degussa GT2 | CHP | Gas | CHP, waste & biomass | 32 |  | yes | yes | yes
Lillo Energy | Lillo Degussa ST | CHP | Gas | CHP, waste & biomass | 10 |  | yes | yes | yes
Direct Energie | MARCINELLE ENERGIE TGV | CCGT | Gas | CCGT | 413 |  | yes | yes | yes
Engie - Electrabel | MONSANTO LILLO WKK EBL | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes
Engie - Electrabel | NOORDSCHOTE TJ | TJ | Oil | TJ | 18 |  | yes | yes | yes
Engie - Electrabel | Oorderen Bayer | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes
Luminus | RINGVAART STEG | CCGT | Gas | CCGT | 385 |  | yes | yes | yes
Engie - Electrabel | RODENHUIZE 4 | CL | Biomass | CHP, waste & biomass | - | Considered out of the market as of 2023 (back of Knippegroen according to information published on REMIT) | no | no | no
Engie - Electrabel | SAINT-GHISLAIN STEG | CCGT | Gas | CCGT | 385 | Capacity increases from 378 MW to 385 MW | yes | yes | yes
Engie - Electrabel | SAPPI LANAKEN GT | CHP | Gas | CHP, waste & biomass | 43 | Art 4. bis - Decommissioning: 20/02/2024 - https://economie.fgov.be/fr/themes/energie/securite-dapprovisionnement/electricite/mecanismes-de-capacite/reserve-strategique/notifications-de-mise-larret | no | no | no
Centre de Tri | Schaerbeek SIOMAB 1 | IS | Waste | CHP, waste & biomass | 15 |  | yes | yes | yes
Centre de Tri | Schaerbeek SIOMAB 2 | IS | Waste | CHP, waste & biomass | 15 |  | yes | yes | yes
Centre de Tri | Schaerbeek SIOMAB 3 | IS | Waste | CHP, waste & biomass | 15 |  | yes | yes | yes
EXXONMOBIL | SCHELDELAAN EXXONMOBIL | CHP | Gas | CHP, waste & biomass | 140 |  | yes | yes | yes
Luminus | SERAING NEW | CCGT | Gas | CCGT | 885 | Contracted in the CRM Y-4 auction for Delivery Period 2025-26 for a duration of 15 years - https://www.elia.be/en/grid-data/adequacy/crm-auction-results | yes | yes | yes
Luminus | SERAING TG1 | CCGT-GT | Gas | CCGT | 150 |  | yes | yes | yes
Luminus | SERAING TG2 | CCGT-GT | Gas | CCGT | 150 |  | yes | yes | yes
Luminus | SERAING ST | CCGT-ST | Gas | CCGT | 170 | Art. 4bis - Decommissioning date: 18/04/2024 - https://economie.fgov.be/sites/default/files/Files/Energy/tijdelijke-buitenwerkingstelling-stoomturbinesteg-centrale-seraing.pdf | no | no | no
STORA | STORA LANGERBRUGGE CHP 1 | CHP | Biomass | CHP, waste & biomass | 10 |  | yes | yes | yes
STORA | STORA LANGERBRUGGE CHP 2 | CHP | Biomass | CHP, waste & biomass | 40 |  | yes | yes | yes
Taminco | TAMINCO GENT CHP | CHP | Gas | CHP, waste & biomass | 6.3 |  | yes | yes | yes
Engie - Electrabel | TIHANGE 1N | NU | Nuclear | NU | 481 | Decommissioning: 01/10/2025 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | no | no | no
Engie - Electrabel | TIHANGE 1S | NU | Nuclear | NU | 481 | Decommissioning: 01/10/2025 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | no | no | no
Engie - Electrabel | TIHANGE 2 | NU | Nuclear | NU | 1008 | Decommissioning: 01/02/2023 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | no | no | no
Engie - Electrabel | Tihange 3 | NU | Nuclear | NU | 1030 | Updated installed capacity - based on information published on Nordpool - https://umm.nordpoolgroup.com/#/messages?publicationDate=all&eventDate=all&units=22WDOELX40000793&units=22WTIHANG000242R | yes | yes | yes
T-Power | T-POWER | CCGT | Gas | CCGT | 425 |  | yes | yes | yes
Engie - Electrabel | TURBOJET VOLTA | TJ | Oil | TJ | 18 | Art. 4bis - Decommissioning date: 26/08/2023 - https://economie.fgov.be/sites/default/files/Files/Energy/22-54-EBL-FOD-N-Mahieu-fermeture-TJ-VOLTA-Art4-%20GHS-signed.pdf | no | no | no
Engie - Electrabel | VILVOORDE GT | CCGT-GT | Gas | CCGT | 255 | Available as from the 1st of November 2025 - https://umm.nordpoolgroup.com/#/messages/937ab00f-4cd1-4aca-9c2d-0ef05594fd28/2 | yes | yes | yes
Engie - Electrabel | VILVOORDE ST | CCGT-ST | Gas | CCGT | 105 | Based on information published on REMIT, decommissioning 01/04/2023. Efficiency as OCGT https://flux50.com/media/2962/Rudi%20Hermans%2020190117.pdf | no | no | no
TOTAL | WILMARSDONK TOTAL GT1 | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes
TOTAL | WILMARSDONK TOTAL GT2 | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes
TOTAL | WILMARSDONK TOTAL GT3 | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes
Zandvliet Power NV | ZANDVLIET POWER | CCGT | Gas | CCGT | 419 | The nominal capacity is considered as of 11/2024 | yes | yes | yes
Engie - Electrabel | ZEDELGEM TJ | TJ | Oil | TJ | 18 |  | yes | yes | yes
Engie - Electrabel | ZEEBRUGGE TJ | TJ | Oil | TJ | 18 |  | yes | yes | yes
Engie - Electrabel | ZELZATE TJ | TJ | Oil | TJ | 18 |  | yes | yes | yes
Engie - Electrabel | Zwijndrecht Lanxess GT | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes
Engie - Electrabel | Zwijndrecht Lanxess ST | CHP | Gas | CHP, waste & biomass | 15 | Art 4. bis - Decommissioning: 01/09/2023 - https://economie.fgov.be/fr/themes/energie/securite-dapprovisionnement/electricite/mecanismes-de-capacite/reserve-strategique/notifications-de-mise-larret | no | no | no
Legend Unit-Type
CCGT | Combined Cycle
CCGT-GT | Combined Cycle - Gas Turbine
CCGT-ST | Combined Cycle - Steam Turbine
CL | Classic
GT | Gas Turbine
ST | Steam Turbine
IS | Incineration Station
NU | Nuclear
TJ | TurboJet
CHP | Cogeneration Unit

## 1.3 Storage
1.3 Storage
1.3.1 Pumped-Storage
| BE Pumped-Storage facilities | Reservoir Volume [MWh]
|  | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| Storage reservoir | 6300 | 6300 | 6300
| Storage reservoir derating (black-start services) | 500 | 500 | 500
| Available storage for economical dispatch | 5800 | 5800 | 5800
| BE Pumped-Storage facilities | Turbining capacity [MW]
|  | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| Total capacity | 1305 | 1305 | 1305
| Coo 1-6 | 1161 | 1161 | 1161
| Platte Taille 1-4 | 144 | 144 | 144
1.3.2 Batteries
a) Definition in the ERAA methodology regarding batteries:
In-the-market batteries, which are large-scale battery capacities that are traded in day-ahead and intraday markets. In-the-market batteries shall be modelled similarly to pumped-hydro storage and shall be subject to the following constraints: maximum power, maximum energy storage, state of charge, charging/discharging efficiency; Out-of-market batteries, which represent small-scale batteries typically managed behind the meter. Out-of-market batteries shall be modelled as peak-shaving units based on predefined peak-reduction ratios, which are a direct input to the demand prediction process
Two categories are considered for "batteries" in this study: large-scale batteries and small-scale batteries.
The small-scale batteries are categorized into two groups: those managed behind the meter, which fall under the "out-of-market" category, and those assumed to participate in the electricity market, which fall under the "in-the-market" category.
The large-scale batteries are assumed to participate to the electricity market and are considered for this reason in "in-the-market" category.
For large-scale batteries, the energy content is shared between 2h and 4h batteries.
| Batteries - Capacity in reference scenario | Capacity [MW]
|  | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| Total | 917 | 1568 | 1631
| Small-scale storage | 586 | 613 | 676
| Large-scale storage ("in-the-market") | 331 | 955 | 955
| Batteries - Reservoir volume in reference scenario | Reservoir volume [MWh]
|  | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| Total | 2235 | 4687 | 4813
| Small-scale storage | 1172 | 1226 | 1352
| Large-scale storage ("in-the-market") | 1063 | 3461 | 3461
The proportion of small-scale batteries considered "out-of-market" and "in-the-market" is displayed below.
Proportion of small-scale batteries per category
|  | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| "in-the-market" | 60% | 70% | 90%
| "out-of-market" | 40% | 30% | 10%

## 1.4 Renewable and profiled
1.4 Renewable energy sources and thermal without daily schedule units
Generation type |  | Generation capacity [MW]
|  | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Renewable energy sources |  | 19382 | 20915 | 24680
| Wind | 6519 | 6849 | 8209
| Wind onshore | 4258 | 4588 | 5248
| Wind offshore | 2261 | 2261 | 2961
| Photovoltaics | 12723 | 13923 | 16323
| Hydro RoR | 140 | 143 | 148
profiled thermal without daily schedule units |  | 2077 | 2084 | 2098
| Gas CHP - wihout daily schedule | 1505 | 1511 | 1525
| Biomass - wihout daily schedule | 542 | 543 | 543
| Waste - wihout daily schedule | 30 | 30 | 30

## 1.5 Forced outage rates
1.5 Forced outage rates
Category | Number of FO per year | Average FO rate [%] | Average duration of FO rate [hours]
Nuclear | 1.3* | 20.5% | 199 hours* [around 8 days]
CCGT | 9.4 | 5.5% | 110 hours [ around 5 days]
OCGT | 9.2 | 8.2% | 221 hours [around 9 days]
TJ | 3.2 | 9.8% | 130 hours [around5 days]
CHP, waste, biomass | 2.9 | 6.4% | 111 hours [around 5 days]
Pumped Storage | 5.8 | 2.9% | 46 hours [around 2 day]
Batteries | / | 2.0%*** | /
DC links | 1.9 | 6.7% | 158 hours [around 7 days]
* Only considering technical forced outages.
** Also considering long-lasting forced outages
*** Regarding batteries, the forced outage rate is considered in the models by applying a derating factor on the installed capacity
Sources:
Forced outage rates have been calculated in a study performed by N-Side, which was part of the public consultation of AdeqFlex 23. For pumped-storage and batteries, the forced outage rates were updated based on feedback received during AdeqFlex 23 public consultation.

## 2.1 Demand
2.1 Demand
Assumptions:
Electric Vehicles* | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Passengers Cars BEV [thousand] | 650 | 893 | 1469
Passengers Cars PHEV [thousand] | 460 | 450 | 373
LDV freight BEV [thousand] | 43 | 63 | 123
LDV freight PHEV [thousand] | 15 | 19 | 28
HDV freight BEV [thousand] | 0 | 0 | 2
Busses BEV [thousand] | 3 | 3 | 4
Heat Pumps* | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Residential HP [thousand] | 934 | 1016 | 1194
Tertiary HP [thousand] | 88 | 103 | 136
Sources
Febiac for EV, ATTB for HP

## 2.3 Demand-Side Response
2.2 Demand-Side Response
Additional DSR from industry electrification (shedding capacity) | % of the additional electrification by industry considered flexible
| 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
P2H - HP | 80
P2H - eBoiler | 100
DRI-EAF (Steel) | 75
CCS | 0
Data centers | 50
Sources:
Adequacy & Flexibility study 2023

## 3. Balancing capacity
3. Balancing capacity
Volume [MW]
| 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Total FCR | 97 | 97 | 97
Total FRR | 1030 | 1030 | 1030
Total reserve capacity | 1127 | 1127 | 1127

## 4. Flow based domains
4. Flow based domains
Elia has developed a flow-based framework which does not rely on historical domains, but instead aims to mimic the operational flow-based capacity calculation workflow.
The framework is based on a zonal model of Europe, the grid model used is based on the TYNDP 2022.
The flow-based perimeter includes the CORE region, with 13-dimensional domains.
Using a framework allows hence to consult on the parameters rather than domains.
The flow-based domains will be illustrated in the final report.
For more information on flow-based please refer to the public consultation on methodology:
4.1.1. Main parameters
Market Parameters | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Flow-based perimeter | CORE | CORE | CORE
Bidding zones | AS IS | AS IS | AS IS
minRAM | See table below | See table below | See table below
Treatment of external flows | Advanced Hybrid Coupling (AHC) | Advanced Hybrid Coupling (AHC) | Advanced Hybrid Coupling (AHC)
External constraints | No external constraints | No external constraints | No external constraints
Use of PST in capacity calculation | For Belgium: 1/2 For other: 1/3 | For Belgium: 1/2 For other: 1/3 | For Belgium: 1/2 For other: 1/3
Use of HVDC in flow-based capacity allocation | Only ALEGrO | Only ALEGrO | Only ALEGrO
4.1.2. MinRAM trajectories
Country | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Netherlands | 70 | 70 | 70
Belgium
Germany
France
Slovenia
Hungary
Kroatia
Romania
Czechia
Austria
Slovakia
Poland

## 5. Other countries data
5. Sources for other countries
Sources :
European Resource Adequacy Assessment 2023 from ENTSO-E https://www.entsoe.eu/outlooks/eraa/
The sources for the proposed updates are presented in the explanatory note.
Updates proposed :
2026-27/Y-1 | France | Germany | Netherlands | United Kingdom | Spain | Italy | Poland | Denmark
Demand [TWh] | 480.1 | 590.4 | 133.6 | 293.6 | 259.9 | 334.6 | 173.1 | 46.2
Onshore Wind [GW] | 26.0448 | 86.1 | 8 | 20.9 | 35.7 | 15.2 | 11.9 | 6.2252
Offshore Wind [GW] | 3 | 13.4 | 6 | 28.3 | 0.3 | 4.8 | 3.7 | 3.7356
Solar [GW] | 27.307 | 132 | 46.9 | 23 | 39.9 | 52.7438 | 21.7 | 8.2277
Coal [GW] | 1.2 | 18.9 | 2.7 | 0 | 0 | 0.267 | 24 | 0.6
Nuclear [GW] | 62.9 | 0 | 0.5 | 3.6 | 7.12 | 0 | 0 | 0
Gas [GW] | 7.2 | 32.8 | 13.6 | 41.9 | 24.5 | 42.6 | 5.8 | 1.2
2027-28/Y-2 | France | Germany | Netherlands | United Kingdom | Spain | Italy | Poland | Denmark
Demand [TWh] | 489.5 | 610 | 139.3 | 300 | 264.1 | 340.2 | 177 | 49.2
Onshore Wind [GW] | 27.3134 | 92.6 | 8.4 | 23.2 | 36.6 | 16.3 | 12.4 | 6.5853
Offshore Wind [GW] | 3.3 | 17.5 | 7.9 | 29.8 | 0.3 | 6 | 5.9 | 4.2506
Solar [GW] | 32.2987 | 152 | 51.1 | 25.3 | 46.2 | 60.1625 | 23.4 | 10.5954
Coal [GW] | 1.2 | 13.55 | 2.7 | 0 | 0 | 0.178 | 23.3 | 0.6
Nuclear [GW] | 62.9 | 0 | 0.5 | 3.6 | 6.11 | 0 | 0 | 0
Gas [GW] | 7.2 | 32.8 | 13.6 | 42.1 | 24.5 | 42.6 | 5.8 | 1.2
2029-30/Y-4 | France | Germany | Netherlands | United Kingdom | Spain | Italy | Poland | Denmark
Demand [TWh] | 509.3 | 652.1 | 156.2 | 325.1 | 268.9 | 351.4 | 185.1 | 54.5
Onshore Wind [GW] | 29.8507 | 107 | 9.1 | 26.5 | 44.4 | 18.5 | 13.8 | 7.3056
Offshore Wind [GW] | 3.9 | 25.8 | 14.5 | 44.8 | 2.8 | 9.6 | 5.9 | 5.3506
Solar [GW] | 42.2822 | 193.5 | 59 | 30.8 | 58.6 | 75 | 26.8 | 17.7444
Coal [GW] | 1.2 | 0 | 0 | 0 | 0 | 0 | 21.9 | 0.2
Nuclear [GW] | 62.9 | 0 | 0.5 | 1.2 | 5.1 | 0 | 0 | 0
Gas [GW] | 7.2 | 25.7 | 12.7 | 37.7 | 24.5 | 42.6 | 5.8 | 0.8

## 6. Economic parameters
6. Economic parameters
The prices are based on "Announced Pledges" scenario from WEO2023 and are expressed in € 2023.
Category | Price [€ 2023/MWh]
| 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Gas | 26.3 | 25.3 | 21.1
Coal | 12.8 | 11.6 | 9.3
Oil | 37.2 | 36.3 | 35.8
Price [€ 2023/tCO2]
| 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
CO2 | 64.2 | 66.6 | 71.2

## 7. Proposed sensitivities
7. Proposed sensitivities
Sensitivity | Description | Applicable for 2026-27/Y-1 | Applicable for 2027-28/Y-2 | Applicable for 2029-30/Y-4
French nuclear availability 1 | 2026-27/Y-1 : Lower availability during winter compared to REMIT Calculated as the difference with the average EDF forecast on the winter only 2027-28/Y-2 & 2029-30/Y-4 : Lower availability by 2 units on average during winter compared to ERAA | Yes | Yes | Yes
French nuclear availability 2 | 2026-27/Y-1 : Lower availability during winter compared to REMIT. Calculated as the difference with the minimum EDF forecast on the winter only 2027-28/Y-2 & 2029-30/Y-4 : Lower availability by 4 units on average during winter compared to ERAA | Yes | Yes | Yes
French nuclear availability 3 | 2026-27/Y-1 : Lower availability during winter compared to REMIT. Calculated as the difference with the minimum EDF forecast on the whole year 2027-28/Y-2 & 2029-30/Y-4 : Lower availability by 6 units on average during winter compared to ERAA | Yes | Yes | Yes
French nuclear availability 4 | 2026-27/Y-1 : / 2027-28/Y-2 & 2029-30/Y-4 : Lower availability by 8 units on average during winter compared to ERAA | Yes | Yes | Yes
Nuclear capacity Great-Britain 1 | Earlier availability of Hickley Point C | No | No | Yes
Nuclear capacity Great-Britain 2 | Extension of AGR nuclear plants by 2 years | No | Yes | Yes
Cordemais unavailability | The coal unit Cordemais is not switched to biomass and is closed in 2026. | Yes | Yes | Yes
FB CEP rules | Non achievements of the CEP rules to reflect the uncertainty on capacity calculation. Fixed RAM 70% instead of 70% minRAM | Yes | Yes | Yes
Nuclear forced outage rate in Belgium | Better Belgian nuclear availability in winter due to the extensive LTO works performed in summer. FO rate of 10 % instead of 20,5 % | Yes | Yes | Yes
TJ closure | Closure of turbojets due to CO2 threshold -140 MW | Yes | Yes | Yes

## 8. Preselected capacity types
8. Preselected capacity types
The preselected capacity types have the characteristics described in the tabel below.
Technology | Marginal Price Calculation | CAPEX | FOM | Economic lifetime | Applicable in:
|  | [€ 2023/kW] | [€ 2023/kW] | [y] | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
CCGT | Marginal price of a new CCGT | 709* | 32 | 20 | No | No | Yes
OCGT | Marginal price of a new OCGT | 557** | 26 | 20 | No | No | Yes
Large-scale bat. | Marginal price of a new battery | 912 | 25 | 15 | Yes | Yes | Yes
DSR 24h | Marginal price of 24h DSR | see below |  |  | Yes | Yes | Yes
*CAPEX for CCGT >800 MW
**CAPEX for OCGT>100 MW

## 9. Scenarios post DY
9. Scenarios post-delivery period choice
Sources of scenarios for periods after the delivery period in order to calculate the market revenues.
Application to 2026-27/Y-1
Application to 2027-28/Y-2
Application to 2029-30/Y-4
CRM
2027-28/Y-2
CRM
2029-30/Y-4
2029
2040
2027
AdFlex 23
AdFlex 23 (2034 Scenario)
2030
2032
2034
CRM
2027-28/Y-2
CRM
2029-30/Y-4
CRM
2026-27/Y-1
2029
2040
AdFlex 23
AdFlex 23 (2034 Scenario)
2030
2032
2034
CRM
2029-30/Y-4
2026
2029
2040
2027
AdFlex 23
AdFlex 23 (2034 Scenario)
2030
2034

## 10.1 IPC - Technology List
10.1 Intermediate Price Cap - Technology List
Technology considered for 2026-27/Y-1, 2027-28/Y-2 and 2029-30/Y-4.
Technology (existing units) | Energy activation duration | Yearly Fixed O&M |  |  | Source
| hours | [€2023/kW/year]
|  | low | mid | high
CCGT | / | 33 | 35 | 39 | Entras 2023
OCGT | / | 20 | 23 | 29 | Entras 2023
Batteries | 4 | 14 | 20 | 24 | Entras 2023
Demand Side Response | 4 | 8 | 13 | 19 | AdFlex 2023

## 10.2 IPC - Revenues parameters
10.2 Intermediate Price Cap - Input parameters for revenues
Input parameters for market revenues
Technologies | Efficiency [%] |  |  | VOM [€ 2023/MWh] |  |  | Source
| low | mid | high | low | mid | high
CCGT | 50 | 54 | 58 | 0.9 | 1.2 | 2.1 | Entras 2023
OCGT | 35 | 40 | 44 | 2 | 3 | 3.6 | Entras 2023
Batteries* | 85 | 85 | 85 | 0.1 | 0.2 | 0.4 | Entras 2023
*for storage, round-trip efficiency is taken into account
Activation cost of availability test
Activation cost, in €/kW-derated/year: |  | 0,9€/kWh*0,25h*(1/X) with X the derating factor (in %) associated to the SLA with a 4 hour energy activation constraint
Source: |  | https://www.elia.be/en/suppliers/supplier/energy-purchases/strategic-reserve-volume-and-prices