## Contents
CRM - Assumptions workbook
Inputs for the scenario proposal for 2026-2027/Y-1, 2027-28/Y-2 and 2029-30/Y-4
This data is provided in the framework of the evaluation of the Belgian CRM calibration, following the public consultation. It includes the data required by article 5 of the Royal Decree on volume and parameters: http://www.ejustice.just.fgov.be/eli/arrete/2021/04/28/2021041351/justel All the data presented in this Excel are targetting the time horizons 2026-2027, 2027-28 and 2029-2030 that are proposed as basis for the simulations used for the calibration of the auction Y-1, Y-2 and Y-4. In order to ease the reading the following acronyms will be used : - 2026-27/Y-1 : refers to the Y-1 calibration for the DP 2026-27; - 2027-28/Y-2 : refers to the Y-2 calibration for the DP 2027-28; - 2029-30/Y-4 : refers to the Y-4 calibration for the DP 2029-30.
1° Data and assumptions for the scenario
1. Generation & Storage
1.1 Generation & Storage summary
1.2 Individually modelled thermal generation
1.3 Storage
1.4 Renewable and thermal without daily schedule
1.5 Forced outage rates
2. Consumption
2.1 Demand
2.2 Demand-Side Response
3. Balancing capacity
4. Flow based domains
5. Other countries data
6. Economic parameters
2° Sensitivities that could be integrated in the reference scenario
7 Sensitivities menu
3° Preselected capacity types
8. Preselected capacity types
4° Net-CONE input data
9. Scenarios post delivery year
5° Intermediate Price Cap
10. Parameters for the IPC
10.1 Technology list
10.2 Revenues parameters

## 1.1 Summary
1.1 Generation & Storage summary
Generation type |  |  | Generation capacity [MW]
|  |  | 2023 | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Individually modelled non renewable thermal generation |  |  | 9407.7 | 9008.7 | 9008.7 | 9008.7
NU | Nuclear |  | 3908 | 2056 | 2056 | 2056
CCGT | Gas |  | 3549.3 | 5193.3 | 5193.3 | 5193.3
OCGT | Gas |  | 849 | 849 | 849 | 849
CHP | Gas |  | 961.4 | 910.4 | 910.4 | 910.4
TJ | Oil |  | 140 | 0 | 0 | 0
CL | Gas |  | 305 | 305 | 305 | 305
Profiled thermal non renewable generation |  |  | 1440 | 1505 | 1511 | 1525
Renewable generation |  |  | 15667.4 | 20308.4 | 21842.4 | 25607.4
| Wind |  | 5507 | 6519 | 6849 | 8209
|  | Onshore | 3246 | 4258 | 4588 | 5248
|  | Offshore | 2261 | 2261 | 2261 | 2961
| Photovoltaics |  | 9123 | 12723 | 13923 | 16323
| Hydro RoR |  | 129 | 140 | 143 | 148
| Biomass |  | 592 | 610 | 611 | 611
|  | individually modelled | 68 | 68 | 68 | 68
|  | profiled | 524 | 542 | 543 | 543
| Waste |  | 316.4 | 316.4 | 316.4 | 316.4
|  | individually modelled | 286.4 | 286.4 | 286.4 | 286.4
|  | profiled | 30 | 30 | 30 | 30
Storage |  |  | 1919 | 2256 | 2922 | 3016
| Pumped storage |  | 1251 | 1305 | 1305 | 1305
| Large and small scale Batteries |  | 668 | 951 | 1617 | 1711

## 1.2 Ind. mod. thermal gen.
1.2 Individually modelled thermal generation
Owner | Generation unit name | Type | Fuel type | Derating type | Net generation capacity [MW] | Comment | Situation at end of the given year
[7 empty] | 2023 | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Engie - Electrabel | AALST SYRAL GT | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes | yes
Engie - Electrabel | AALST SYRAL ST | CHP | Gas | CHP, waste & biomass | 5 |  | yes | yes | yes | yes
Engie - Electrabel | AALTER TJ | TJ | Oil | TJ | 18 |  | yes | no | no | no
Engie - Electrabel | AMERCOEUR 1 GT | CCGT-GT | Gas | CCGT | 289 |  | yes | yes | yes | yes
Engie - Electrabel | AMERCOEUR 1 ST | CCGT-ST | Gas | CCGT | 162 |  | yes | yes | yes | yes
Engie - Electrabel | DROGENBOS GT1 | CCGT-GT | Gas | CCGT | 150 |  | yes | yes | yes | yes
Engie - Electrabel | DROGENBOS GT2 | CCGT-GT | Gas | CCGT | 150 |  | yes | yes | yes | yes
Engie - Electrabel | DROGENBOS ST | CCGT-ST | Gas | CCGT | 160 |  | yes | yes | yes | yes
Engie - Electrabel | Flémalle NEW | CCGT | Gas | CCGT | 890 | Contracted in the CRM Y-4 auction for Delivery Period 2025-26 for a duration of 15 years - https://www.elia.be/en/grid-data/adequacy/crm-auction-results | no | yes | yes | yes
Engie - Electrabel | BEERSE TJ | TJ | Oil | TJ | 32 |  | yes | no | no | no
Indaver | Beveren 2 Indaver | IS | Waste | CHP, waste & biomass | 21 |  | yes | yes | yes | yes
Indaver | Beveren 3 Indaver | IS | Waste | CHP, waste & biomass | 24 |  | yes | yes | yes | yes
Indaver | Beveren Ineos Phenol Chem | CHP | Gas | CHP, waste & biomass | 25.1 |  | yes | yes | yes | yes
Indaver | Beveren Sleco | IS | Waste | CHP, waste & biomass | 41 |  | yes | yes | yes | yes
Biopower | BIOMASSA OOSTENDE | IS | Biomass | CHP, waste & biomass | 18 |  | yes | yes | yes | yes
Biostoom | BIOSTOOM OOSTENDE | IS | Waste | CHP, waste & biomass | 19.4 |  | yes | yes | yes | yes
Borealis | Borealis Kallo Cogen GT_ST | CHP | Gas | CHP, waste & biomass | 32 | Commissioning date expected - mid-2024 (01/07/2024 considered) https://www.spglobal.com/commodityinsights/en/market-insights/latest-news/petrochemicals/090122-pdh-project-in-belgium-delayed-to-mid-2024-as-borealis-retenders-construction-contracts | no | yes | yes | yes
Engie - Electrabel | CIERREUX TJ | TJ | Oil | TJ | 18 |  | yes | no | no | no
Engie - Electrabel | DOEL 1 | NU | Nuclear | NU | 445 | Decommissioning: 15/02/2025 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | yes | no | no | no
Engie - Electrabel | DOEL 2 | NU | Nuclear | NU | 445 | Decommissioning: 01/12/2025 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | yes | no | no | no
Engie - Electrabel | DOEL 3 | NU | Nuclear | NU | 1006 | Decommissioning: 01/10/2022 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | no | no | no | no
Engie - Electrabel | DOEL 4 | NU | Nuclear | NU | 1026 | Updated installed capacity - based on information published on Nordpool - https://umm.nordpoolgroup.com/#/messages?publicationDate=all&eventDate=all&units=22WDOELX40000793&units=22WTIHANG000242R | yes | yes | yes | yes
Engie - Electrabel | HERDERSBRUG GT1 | CCGT-GT | Gas | CCGT | 157 |  | yes | yes | yes | yes
Engie - Electrabel | HERDERSBRUG GT2 | CCGT-GT | Gas | CCGT | 156.3 |  | yes | yes | yes | yes
Engie - Electrabel | HERDERSBRUG ST | CCGT-ST | Gas | CCGT | 167 |  | yes | yes | yes | yes
Euro-silo | Euro-Silo | CHP | Gas | CHP, waste & biomass | 12.9 |  | yes | yes | yes | yes
Indaver | E-wood | IS | Waste | CHP, waste & biomass | 22 |  | yes | yes | yes | yes
Direct Energie | MARCINELLE ENERGIE TGV | CCGT | Gas | CCGT | 413 |  | yes | yes | yes | yes
Engie - Electrabel | Fluxys Zeebrugge | CHP | Gas | CHP, waste & biomass | 40 | Art 4. bis - Decommissioning: 01/04/2025 - https://economie.fgov.be/fr/themes/energie/securite-dapprovisionnement/electricite/mecanismes-de-capacite/reserve-strategique/notifications-de-mise-larret | yes | no | no | no
Green Power | Greenpower Oostende | IS | Waste | CHP, waste & biomass | 20 |  | yes | yes | yes | yes
Luminus | RINGVAART STEG | CCGT | Gas | CCGT | 385 |  | yes | yes | yes | yes
Engie - Electrabel | SAINT-GHISLAIN STEG | CCGT | Gas | CCGT | 385 | Capacity increases from 378 MW to 385 MW | yes | yes | yes | yes
Luminus | HAM Gent-GT | CHP | Gas | CHP, waste & biomass | 39 |  | yes | yes | yes | yes
Luminus | HAM Gent-ST | CHP | Gas | CHP, waste & biomass | -
Luminus | SERAING NEW | CCGT | Gas | CCGT | 885 | Contracted in the CRM Y-4 auction for Delivery Period 2025-26 for a duration of 15 years - https://www.elia.be/en/grid-data/adequacy/crm-auction-results | no | yes | yes | yes
Luminus | SERAING ST | CCGT-ST | Gas | CCGT | 170 | Art. 4bis - Decommissioning date: 18/04/2024 - https://economie.fgov.be/sites/default/files/Files/Energy/tijdelijke-buitenwerkingstelling-stoomturbinesteg-centrale-seraing.pdf | yes | no | no | no
T-Power | T-POWER | CCGT | Gas | CCGT | 425 |  | yes | yes | yes | yes
INEOS | INESCO GT1 | CHP | Gas | CHP, waste & biomass | 44.8 |  | yes | yes | yes | yes
INEOS | INESCO GT2 | CHP | Gas | CHP, waste & biomass | 44.8 |  | yes | yes | yes | yes
INEOS | INESCO ST | CHP | Gas | CHP, waste & biomass | 48.5 |  | yes | yes | yes | yes
INTRADEL | INTRADEL | IS | Waste | CHP, waste & biomass | 32 |  | yes | yes | yes | yes
IPALLE | Ipalle THUMAIDE | IS | Waste | CHP, waste & biomass | 34 |  | yes | yes | yes | yes
Engie - Electrabel | ISVAG | IS | Waste | CHP, waste & biomass | 12 |  | yes | yes | yes | yes
Lampiris | IVBO | IS | Waste | CHP, waste & biomass | 16 |  | yes | yes | yes | yes
Luminus | IZEGEM | CHP | Gas | CHP, waste & biomass | 20 |  | yes | yes | yes | yes
Inovyn | JEMEPPE-SUR-SAMBRE GT1 | CHP | Gas | CHP, waste & biomass | 48 |  | yes | yes | yes | yes
Inovyn | JEMEPPE-SUR-SAMBRE GT2 | CHP | Gas | CHP, waste & biomass | 48 |  | yes | yes | yes | yes
Inovyn | JEMEPPE-SUR-SAMBRE ST | CHP | Gas | CHP, waste & biomass | 10 |  | yes | yes | yes | yes
Engie - Electrabel | KNIPPEGROEN STEG | CL | Gas | OCGT | 305 |  | yes | yes | yes | yes
Lillo Energy | Lillo Degussa GT1 | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes | yes
Lillo Energy | Lillo Degussa GT2 | CHP | Gas | CHP, waste & biomass | 32 |  | yes | yes | yes | yes
Lillo Energy | Lillo Degussa ST | CHP | Gas | CHP, waste & biomass | 10 |  | yes | yes | yes | yes
Engie - Electrabel | VILVOORDE ST | CCGT-ST | Gas | CCGT | 105 | Based on information published on REMIT, decommissioning 01/04/2023. Efficiency as OCGT https://flux50.com/media/2962/Rudi%20Hermans%2020190117.pdf | no | no | no | no
Engie - Electrabel | MONSANTO LILLO WKK EBL | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes | yes
Engie - Electrabel | NOORDSCHOTE TJ | TJ | Oil | TJ | 18 |  | yes | no | no | no
Engie - Electrabel | Oorderen Bayer | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes | yes
Zandvliet Power NV | ZANDVLIET POWER (pre-repowering) | CCGT | Gas | CCGT | 380 |  | yes | no | no | no
Zandvliet Power NV | ZANDVLIET POWER | CCGT | Gas | CCGT | 419 | The nominal capacity is considered as of 11/2024 | no | yes | yes | yes
Engie - Electrabel | RODENHUIZE 4 | CL | Biomass | CHP, waste & biomass | - | Considered out of the market as of 2023 (back of Knippegroen according to information published on REMIT) | no | no | no | no
Luminus | ANGLEUR TG 31 | GT | Gas | OCGT | 25 |  | yes | yes | yes | yes
Engie - Electrabel | SAPPI LANAKEN GT | CHP | Gas | CHP, waste & biomass | 43 | Art 4. bis - Decommissioning: 20/02/2024 - https://economie.fgov.be/fr/themes/energie/securite-dapprovisionnement/electricite/mecanismes-de-capacite/reserve-strategique/notifications-de-mise-larret | yes | no | no | no
Centre de Tri | Schaerbeek SIOMAB 1 | IS | Waste | CHP, waste & biomass | 15 |  | yes | yes | yes | yes
Centre de Tri | Schaerbeek SIOMAB 2 | IS | Waste | CHP, waste & biomass | 15 |  | yes | yes | yes | yes
Centre de Tri | Schaerbeek SIOMAB 3 | IS | Waste | CHP, waste & biomass | 15 |  | yes | yes | yes | yes
EXXONMOBIL | SCHELDELAAN EXXONMOBIL | CHP | Gas | CHP, waste & biomass | 140 |  | yes | yes | yes | yes
Luminus | ANGLEUR TG 32 | GT | Gas | OCGT | 25 |  | yes | yes | yes | yes
Luminus | ANGLEUR TG 41 | GT | Gas | OCGT | 64 |  | yes | yes | yes | yes
Luminus | ANGLEUR TG 42 | GT | Gas | OCGT | 64 |  | yes | yes | yes | yes
Luminus | HAM 31 | GT | Gas | OCGT | 58 |  | yes | yes | yes | yes
STORA | STORA LANGERBRUGGE CHP 1 | CHP | Biomass | CHP, waste & biomass | 10 |  | yes | yes | yes | yes
STORA | STORA LANGERBRUGGE CHP 2 | CHP | Biomass | CHP, waste & biomass | 40 |  | yes | yes | yes | yes
Taminco | TAMINCO GENT CHP | CHP | Gas | CHP, waste & biomass | 6.3 |  | yes | yes | yes | yes
Engie - Electrabel | TIHANGE 1N | NU | Nuclear | NU | 481 | Decommissioning: 01/10/2025 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | yes | no | no | no
Engie - Electrabel | TIHANGE 1S | NU | Nuclear | NU | 481 | Decommissioning: 01/10/2025 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | yes | no | no | no
Engie - Electrabel | TIHANGE 2 | NU | Nuclear | NU | 1008 | Decommissioning: 01/02/2023 - https://economie.fgov.be/fr/themes/energie/sources-denergie/nucleaire/base-legale-de-la-sortie-du | no | no | no | no
Engie - Electrabel | TIHANGE 3 | NU | Nuclear | NU | 1030 | Updated installed capacity - based on information published on Nordpool - https://umm.nordpoolgroup.com/#/messages?publicationDate=all&eventDate=all&units=22WDOELX40000793&units=22WTIHANG000242R | yes | yes | yes | yes
Luminus | HAM 32 | GT | Gas | OCGT | 58 |  | yes | yes | yes | yes
Engie - Electrabel | TURBOJET VOLTA | TJ | Oil | TJ | 18 | Art. 4bis - Decommissioning date: 26/08/2023 - https://economie.fgov.be/sites/default/files/Files/Energy/22-54-EBL-FOD-N-Mahieu-fermeture-TJ-VOLTA-Art4-%20GHS-signed.pdf | no | no | no | no
Luminus | SERAING TG1 | GT | Gas | OCGT | 150 |  | yes | yes | yes | yes
Luminus | SERAING TG2 | GT | Gas | OCGT | 150 |  | yes | yes | yes | yes
TOTAL | WILMARSDONK TOTAL GT1 | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes | yes
TOTAL | WILMARSDONK TOTAL GT2 | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes | yes
TOTAL | WILMARSDONK TOTAL GT3 | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes | yes
Engie - Electrabel | VILVOORDE GT | GT | Gas | OCGT | 255 | Available as from the 1st of November 2025 - https://umm.nordpoolgroup.com/#/messages/937ab00f-4cd1-4aca-9c2d-0ef05594fd28/2 | yes | yes | yes | yes
Engie - Electrabel | ZEDELGEM TJ | TJ | Oil | TJ | 18 |  | yes | no | no | no
Engie - Electrabel | ZEEBRUGGE TJ | TJ | Oil | TJ | 18 |  | yes | no | no | no
Engie - Electrabel | ZELZATE TJ | TJ | Oil | TJ | 18 |  | yes | no | no | no
Engie - Electrabel | Zwijndrecht Lanxess GT | CHP | Gas | CHP, waste & biomass | 43 |  | yes | yes | yes | yes
Engie - Electrabel | Zwijndrecht Lanxess ST | CHP | Gas | CHP, waste & biomass | 15 | Art 4. bis - Decommissioning: 01/09/2023 - https://economie.fgov.be/fr/themes/energie/securite-dapprovisionnement/electricite/mecanismes-de-capacite/reserve-strategique/notifications-de-mise-larret | no | no | no | no
Legend Unit-Type
CCGT | Combined Cycle
CCGT-GT | Combined Cycle - Gas Turbine
CCGT-ST | Combined Cycle - Steam Turbine
CL | Classic
GT | Gas Turbine
ST | Steam Turbine
IS | Incineration Station
NU | Nuclear
TJ | TurboJet
CHP | Cogeneration Unit

## 1.3 Storage
1.3 Storage
1.3.1 Pumped-Storage
| BE Pumped-Storage facilities | Reservoir Volume [MWh]
|  | 2023 | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| Storage reservoir | 6300 | 6300 | 6300 | 6300
| Storage reservoir derating (black-start services) | 500 | 500 | 500 | 500
| Available storage for economical dispatch | 5800 | 5800 | 5800 | 5800
| BE Pumped-Storage facilities | Turbining capacity [MW]
|  | 2023 | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| Total capacity | 1251 | 1305 | 1305 | 1305
| Coo 1-6 | 1107 | 1161 | 1161 | 1161
| Platte Taille 1-4 | 144 | 144 | 144 | 144
1.3.2 Batteries
a) Definition in the ERAA methodology regarding batteries:
In-the-market batteries, which are large-scale battery capacities that are traded in day-ahead and intraday markets. In-the-market batteries shall be modelled similarly to pumped-hydro storage and shall be subject to the following constraints: maximum power, maximum energy storage, state of charge, charging/discharging efficiency; Out-of-market batteries, which represent small-scale batteries typically managed behind the meter. Out-of-market batteries shall be modelled as peak-shaving units based on predefined peak-reduction ratios, which are a direct input to the demand prediction process
Two categories are considered for "batteries" in this study: large-scale batteries and small-scale batteries.
The small-scale batteries are categorized into two groups: those managed behind the meter, which fall under the "out-of-market" category, and those assumed to participate in the electricity market, which fall under the "in-the-market" category.
The large-scale batteries are assumed to participate to the electricity market and are considered for this reason in "in-the-market" category.
For large-scale batteries, the energy content is shared between 2h and 4h batteries.
| Batteries - Capacity in reference scenario |  | Capacity [MW]
|  | 2023 | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| Total | 668 | 951 | 1617 | 1711
| Small-scale storage | 516 | 620 | 662 | 756
| Large-scale storage ("in-the-market") | 152 | 331 | 955 | 955
| Batteries - Reservoir volume in reference scenario |  | Reservoir volume [MWh]
|  | 2023 | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| Total | 1549 | 2303 | 4785 | 4973
| Small-scale storage | 1032 | 1240 | 1324 | 1512
| Large-scale storage ("in-the-market") | 517 | 1063 | 3461 | 3461
The proportion of small-scale batteries considered "out-of-market" and "in-the-market" is displayed below.
Proportion of small-scale batteries per category
|  | 2023 | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
| "in-the-market" | 100% | 60% | 70% | 90%
| "out-of-market" | 0% | 40% | 30% | 10%

## 1.4 Renewable and profiled
1.4 Renewable energy sources and thermal without daily schedule units
Generation type |  | Generation capacity [MW]
|  | 2023 | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Renewable energy sources |  |  | 19382 | 20915 | 24680
| Wind | 5507 | 6519 | 6849 | 8209
| Wind onshore | 3246 | 4258 | 4588 | 5248
| Wind offshore | 2261 | 2261 | 2261 | 2961
| Photovoltaics | 9123 | 12723 | 13923 | 16323
| Hydro RoR | 129 | 140 | 143 | 148
profiled thermal without daily schedule units |  | 1994 | 2077 | 2084 | 2098
| Gas CHP - without daily schedule | 1440 | 1505 | 1511 | 1525
| Biomass - without daily schedule | 524 | 542 | 543 | 543
| Waste - without daily schedule | 30 | 30 | 30 | 30

## 1.5 Forced outage rates
1.5 Forced outage rates
Category | Number of FO per year | Average FO rate [%] | Average duration of FO rate [hours]
Nuclear | 1.3* | 10% | 199 hours* [around 8 days]
CCGT | 9.4 | 5.5% | 110 hours [ around 5 days]
OCGT | 9.2 | 8.2% | 221 hours [around 9 days]
TJ | 3.2 | 9.8% | 130 hours [around5 days]
CHP, waste, biomass | 2.9 | 6.4% | 111 hours [around 5 days]
Pumped Storage | 5.8 | 2.9% | 46 hours [around 2 day]
Batteries | / | 2.0%*** | /
DC links | 1.9 | 6.7% | 158 hours [around 7 days]
* Only considering technical forced outages.
** Also considering long-lasting forced outages
*** Regarding batteries, the forced outage rate is considered in the models by applying a derating factor on the installed capacity
Sources:
Forced outage rates have been calculated in a study performed by N-Side, which was part of the public consultation of AdeqFlex'23. For pumped-storage and batteries, the forced outage rates were updated based on feedback received during AdeqFlex 23 public consultation. Following the public consultation, the forced outage of nuclear in Belgium was updated to 10%.

## 2.1 Demand
2.1 Demand
Assumptions:
The electricity consumption, as Climact is currently updating the trajectories, will be presented during the WG Adequacy of the 27th of August and will include: - the latest macro-economic trajectories per sector that will be published by the Federal Planning Bureau in June 2024; - the update of the assumptions regarding additional electrification from industry in close collaboration with Elia’s customers; - Additional insights (energy efficiency, elasticity, demand destruction) gained through the PRICED study will be included in the presented curves as best as possible and if available by then.
Electric Vehicles* | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Passengers Cars BEV [thousand] | 650 | 893 | 1469
Passengers Cars PHEV [thousand] | 460 | 450 | 373
LDV freight BEV [thousand] | 43 | 63 | 123
LDV freight PHEV [thousand] | 15 | 19 | 28
HDV freight BEV [thousand] | 0 | 0 | 2
Busses BEV [thousand] | 3 | 3 | 4
Heat Pumps* | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Residential HP [thousand] | 934 | 1016 | 1194
Tertiary HP [thousand] | 88 | 103 | 136
Sources
Febiac for EV, ATTB for HP

## 2.3 Demand-Side Response
2.2 Demand-Side Response
The demand-side response from existing usage (also called ‘market response’) will be presented in the WG Adequacy of the 27th of August, following the study being performed by N-Side for winter 2023-24.
Additional DSR from industry electrification (shedding capacity) | % of the additional electrification by industry considered flexible
| 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
P2H - HP | 80
P2H - eBoiler | 100
DRI-EAF (Steel) | 75
CCS | 0
Data centers | 50
Sources:
Adequacy & Flexibility study 2023

## 3. Balancing capacity
3. Balancing capacity
Volume [MW]
| 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Total FCR | 97 | 97 | 97
Total FRR | 1030 | 1030 | 1030
Total reserve capacity | 1127 | 1127 | 1127

## 4. Flow based domains
4. Flow based domains
Elia has developed a flow-based framework which does not rely on historical domains, but instead aims to mimic the operational flow-based capacity calculation workflow.
The framework is based on a zonal model of Europe, the grid model used is based on the TYNDP 2022.
The flow-based perimeter includes the CORE region, with 13-dimensional domains.
Using a framework allows hence to consult on the parameters rather than domains.
The flow-based domains will be illustrated in the final report.
For more information on flow-based please refer to the public consultation on methodology:
4.1.1. Main parameters
Market Parameters | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Flow-based perimeter | CORE | CORE | CORE
Bidding zones | AS IS | AS IS | AS IS
minRAM | See table below | See table below | See table below
Treatment of external flows | Advanced Hybrid Coupling (AHC) | Advanced Hybrid Coupling (AHC) | Advanced Hybrid Coupling (AHC)
External constraints | No external constraints | No external constraints | No external constraints
Use of PST in capacity calculation | For Belgium: 1/2 For other: 1/3 | For Belgium: 1/2 For other: 1/3 | For Belgium: 1/2 For other: 1/3
Use of HVDC in flow-based capacity allocation | Only ALEGrO | Only ALEGrO | Only ALEGrO
4.1.2. MinRAM trajectories
Country | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Netherlands | 70 | 70 | 70
Belgium
Germany
France
Slovenia
Hungary
Kroatia
Romania
Czechia
Austria
Slovakia
Poland

## 5. Other countries data
5. Sources for other countries
Sources :
European Resource Adequacy Assessment 2023 from ENTSO-E https://www.entsoe.eu/outlooks/eraa/ The sources for the proposed updates are presented in the explanatory note from the public consultation. Dataset for Netherlands was updated following the publication of the Monitoring Leveringszekerheid in May 2024.
Updates proposed :
2026-27/Y-1 | France | Germany | Netherlands | United Kingdom | Spain | Italy | Poland | Denmark
Demand [TWh] | 480 | 590 | 137 | 294 | 260 | 335 | 173 | 46
Onshore Wind [GW] | 26 | 86 | 8 | 21 | 36 | 15 | 12 | 6
Offshore Wind [GW] | 3 | 13 | 7 | 28 | 0 | 5 | 4 | 4
Solar [GW] | 27 | 132 | 46 | 23 | 40 | 53 | 22 | 8
Coal [GW] | 1 | 19 | 3 | 0 | 0 | 0 | 24 | 1
Nuclear [GW] | 62.9 | 0 | 0.5 | 3.6 | 7.1 | 0 | 0 | 0
Gas [GW] | 7.2 | 32.8 | 12.2 | 41.9 | 24.5 | 42.6 | 5.8 | 1.2
2027-28/Y-2 | France | Germany | Netherlands | United Kingdom | Spain | Italy | Poland | Denmark
Demand [TWh] | 490 | 610 | 141 | 300 | 264 | 340 | 177 | 49
Onshore Wind [GW] | 27 | 93 | 8 | 23 | 37 | 16 | 12 | 7
Offshore Wind [GW] | 3 | 18 | 8 | 30 | 0 | 6 | 6 | 4
Solar [GW] | 32 | 152 | 51 | 25 | 46 | 60 | 23 | 11
Coal [GW] | 1 | 14 | 3 | 0 | 0 | 0 | 23 | 1
Nuclear [GW] | 62.9 | 0 | 0.5 | 3.6 | 6.1 | 0 | 0 | 0
Gas [GW] | 7.2 | 32.8 | 11.7 | 42.1 | 24.5 | 42.6 | 5.8 | 1.2
2029-30/Y-4 | France | Germany | Netherlands | United Kingdom | Spain | Italy | Poland | Denmark
Demand [TWh] | 509 | 652 | 151 | 325 | 269 | 351 | 185 | 55
Onshore Wind [GW] | 30 | 107 | 9 | 27 | 44 | 19 | 14 | 7
Offshore Wind [GW] | 4 | 26 | 17 | 45 | 3 | 10 | 6 | 5
Solar [GW] | 42 | 194 | 59 | 31 | 59 | 75 | 27 | 18
Coal [GW] | 1 | 0 | 0 | 0 | 0 | 0 | 22 | 0
Nuclear [GW] | 62.9 | 0 | 0.5 | 1.2 | 5.1 | 0 | 0 | 0
Gas [GW] | 7.2 | 25.7 | 10.1 | 37.7 | 24.5 | 42.6 | 5.8 | 0.8

## 6. Economic parameters
6. Economic parameters
The prices are based on "Announced Pledges" scenario from WEO2023 and are expressed in € 2023.
Category | Price [€ 2023/MWh]
| 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
Gas | 26.3 | 25.3 | 21.1
Coal | 12.8 | 11.6 | 9.3
Oil | 37.2 | 36.3 | 35.8
Price [€ 2023/tCO2]
| 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
CO2 | 64.2 | 66.6 | 71.2
Regarding fuel and CO2 prices, Elia recommends considering the latest forward prices available before the decision of the Minister

## 7. Proposed sensitivities
7. Proposed sensitivities
In green, the sensitivities proposed in Elia's recommendation.
Sensitivity | Description | Applicable for 2026-27/Y-1 | Applicable for 2027-28/Y-2 | Applicable for 2029-30/Y-4
French nuclear availability 1 | 2026-27/Y-1 : Lower availability during winter compared to REMIT Calculated as the difference with the average EDF forecast on the winter only 2027-28/Y-2 & 2029-30/Y-4 : Lower availability by 2 units on average during winter compared to ERAA | Yes | Yes | Yes
French nuclear availability 2 | 2026-27/Y-1 : Lower availability during winter compared to REMIT. Calculated as the difference with the minimum EDF forecast on the winter only 2027-28/Y-2 & 2029-30/Y-4 : Lower availability by 4 units on average during winter compared to ERAA | Yes | Yes | Yes
French nuclear availability 3 | 2026-27/Y-1 : Lower availability during winter compared to REMIT. Calculated as the difference with the minimum EDF forecast on the whole year 2027-28/Y-2 & 2029-30/Y-4 : Lower availability by 6 units on average during winter compared to ERAA | Yes | Yes | Yes
French nuclear availability 4 | 2026-27/Y-1 : / 2027-28/Y-2 & 2029-30/Y-4 : Lower availability by 8 units on average during winter compared to ERAA | Yes | Yes | Yes
Nuclear capacity Great-Britain 1 | Earlier availability of Hickley Point C | No | No | Yes
Nuclear capacity Great-Britain 2 | Extension of AGR nuclear plants by 2 years | No | Yes | Yes
Cordemais unavailability | The coal unit Cordemais is not switched to biomass and is closed in 2026. | Yes | Yes | Yes
FB CEP rules | Non achievements of the CEP rules to reflect the uncertainty on capacity calculation. Fixed RAM 70% instead of 70% minRAM | Yes | Yes | Yes
Nuclear forced outage rate in Belgium | Better Belgian nuclear availability in winter due to the extensive LTO works performed in summer. FO rate of 10 % instead of 20,5 % | Yes | Yes | Yes
TJ closure | Closure of turbojets due to CO2 threshold -140 MW | Yes | Yes | Yes

## 8. Preselected capacity types
8. Preselected capacity types
The preselected capacity types have the characteristics described in the tabel below. Elia proposes to align the cost parameters of the preselected capacity types with the intermediate values decided by the Minister.
Technology | Marginal Price Calculation | CAPEX | FOM | Economic lifetime | Applicable in:
|  | [€ 2023/kW] | [€ 2023/kW] | [y] | 2026-27/Y-1 | 2027-28/Y-2 | 2029-30/Y-4
CCGT | Marginal price of a new CCGT | 709* | 32 | 20 | No | No | Yes
OCGT | Marginal price of a new OCGT | 557** | 26 | 20 | No | Yes | Yes
Large-scale bat. | Marginal price of a new battery | 912 | 25 | 15 | Yes | Yes | Yes
DSR 24h | Marginal price of 24h DSR | see below |  |  | Yes | Yes | Yes
*CAPEX for CCGT >800 MW
**CAPEX for OCGT>100 MW

## 9. Scenarios post DY
9. Scenarios post-delivery period choice
Sources of scenarios for periods after the delivery period in order to calculate the market revenues.
Application to 2026-27/Y-1
Application to 2027-28/Y-2
Application to 2029-30/Y-4
CRM
2027-28/Y-2
CRM
2029-30/Y-4
2029
2040
2027
AdFlex 23
AdFlex 23 (2034 Scenario)
2030
2032
2034
CRM
2027-28/Y-2
CRM
2029-30/Y-4
CRM
2026-27/Y-1
2029
2040
AdFlex 23
AdFlex 23 (2034 Scenario)
2030
2032
2034
CRM
2029-30/Y-4
2026
2029
2040
2027
AdFlex 23
AdFlex 23 (2034 Scenario)
2030
2034

## 10.1 IPC - Technology List
10.1 Intermediate Price Cap - Technology List
Technology considered for 2026-27/Y-1, 2027-28/Y-2 and 2029-30/Y-4.
Technology (existing units) | Energy activation duration | Yearly Fixed O&M |  |  | Source
| hours | [€2023/kW/year]
|  | low | mid | high
CCGT | / | 33 | 35 | 39 | Entras 2023
OCGT | / | 20 | 23 | 29 | Entras 2023
Batteries | 4 | 14 | 20 | 24 | Entras 2023
Demand Side Response | 4 | 8 | 13 | 19 | AdFlex 2023

## 10.2 IPC - Revenues parameters
10.2 Intermediate Price Cap - Input parameters for revenues
Input parameters for market revenues
Technologies | Efficiency [%] |  |  | VOM [€ 2023/MWh] |  |  | Source
| low | mid | high | low | mid | high
CCGT | 50 | 54 | 58 | 0.9 | 1.2 | 2.1 | Entras 2023
OCGT | 35 | 40 | 44 | 2 | 3 | 3.6 | Entras 2023
Batteries* | 85 | 85 | 85 | 0.1 | 0.2 | 0.4 | Entras 2023
*for storage, round-trip efficiency is taken into account
Activation cost of availability test
Activation cost, in €/kW-derated/year: |  | 0,9€/kWh*0,25h*(1/X) with X the derating factor (in %) associated to the SLA with a 4 hour energy activation constraint
Source: |  | https://www.elia.be/en/suppliers/supplier/energy-purchases/strategic-reserve-volume-and-prices